Device Comfort and Usability Survey: Physiotherapist

This survey aims to evaluate the comfort, usability, and overall user experience of the stroke rehabilitation device. There are no right or wrong answers. Your honest feedback will help improve the design and usability of the device. All responses will be kept confidential.

## Participant Information

Name:

Age:

Gender:

Occupation:

Date of Test:

Tester Name: Nadia and Ron

Total Time Using Device:

## Section A: General Usability

Please rate the following statements on a scale of 1 (Strongly Disagree) to 5 (Strongly Agree).

The device is easy to operate for patient setup. Rating (1–5): Comments:

The system functions are well integrated. Rating (1–5): Comments:

The device fits well into clinical workflow. Rating (1–5): Comments:

The controls/interface were intuitive. Rating (1–5): Comments:

I felt confident operating the device. Rating (1–5): Comments:

## Section B: Setup, Adjustment and Handling

The device is easy to set up for patients. Rating (1–5): Comments:

Adjustments (e.g. leg length, straps) are efficient and intuitive. Rating (1–5): Comments:

Getting patients into the device is safe and manageable. Rating (1–5): Comments:

## Section C: Fit and Physical Comfort

The device accommodates different leg sizes well. Rating (1–5): Comments:

The device provides adequate support and alignment. Rating (1–5): Comments:

The fit can be adjusted to avoid pressure points. Rating (1–5): Comments:

## Section D: Exercise Experience and Effectiveness

The device enables clinically appropriate movement patterns. Rating (1–5): Comments:

The range of motion is adequate for rehabilitation goals. Rating (1–5): Comments:

The device supports passive exercises effectively. Rating (1–5): Comments:

The device supports active exercises effectively. Rating (1–5): Comments:

The device reduces therapist physical workload. Rating (1–5): Comments:

## Section E: Safety and Confidence

The device appears safe for patient use. Rating (1–5): Comments:

The device remains stable during operation. Rating (1–5): Comments:

Emergency controls are accessible and reliable. Rating (1–5): Comments:

I trust the device for supervised use. Rating (1–5): Comments:

I trust the device for unsupervised use. Rating (1–5): Comments:

## Section F: Device Design and Practicality

The device is practical for rehabilitation use (e.g. space, storage). Rating (1–5): Comments:

The weight and portability are acceptable. Rating (1–5): Comments:

The device is durable and reliable. Rating (1–5): Comments:

The device is easy to disinfect (e.g. wipe down) and maintain. Rating (1–5): Comments:

## Section G: Effort and Workload

Operating the device reduces physical strain. Rating (1–5): Comments:

The device reduces workload during therapy sessions. Rating (1–5): Comments:

The device is not mentally demanding to operate. Rating (1–5): Comments:

## Section G: Overall Feedback

What did you like most about the device?

What did you find uncomfortable or difficult?

What improvements would you suggest?

Would you be willing to use this device regularly? (Yes / No)

Remarks: This survey is an adapted hybrid usability survey based on recognised standards and validated constructs, refined using current lower-limb rehabilitation-device literature.

References

Brooke, J. (1996). SUS: A quick and dirty usability scale. In P. W. Jordan, B. Thomas, B. A. Weerdmeester, & A. L. McClelland (Eds.), Usability evaluation in industry (pp. 189–194). Taylor & Francis.

Demers, L., Weiss-Lambrou, R., & Ska, B. (2002). The Quebec User Evaluation of Satisfaction with Assistive Technology (QUEST 2.0): An overview and recent progress. Disability and Rehabilitation, 24(1–3), 21–30. 10.1080/10400435.1996.10132268

Hart, S. G., & Staveland, L. E. (1988). Development of NASA-TLX (Task Load Index): Results of empirical and theoretical research. In P. A. Hancock & N. Meshkati (Eds.), Advances in psychology (Vol. 52, pp. 139–183). North-Holland.

International Organization for Standardization. (2015). Medical devices—Application of usability engineering to medical devices—Part 1: Application of usability engineering to medical devices (ISO 62366-1:2015).

International Organization for Standardization. (2020). Medical devices—Application of usability engineering to medical devices—Amendment 1 (ISO 62366-1:2015/Amd 1:2020).

Louie, D. R., & Eng, J. J. (2016). Powered robotic exoskeletons in post-stroke rehabilitation of gait: A scoping review. Journal of NeuroEngineering and Rehabilitation, 13, 53. https://doi.org/10.1186/s12984-016-0162-5